Kennedy Lab

PCR amplification of fungal ITS1 and/or ITS2 rDNA gene regions

Author & Date:

L. Higgins, 04/2012

Purpose:

To amplify the internal transcribed spacer (ITS) regions ITS1 and/or ITS2 of fungal ribosomal DNA. Depending on the primer pair you use, you can amplify both ITS1 and ITS2, only ITS1, or only ITS2. You can also amplify only ascomycetes (which we don’t usually want to do) or only basidiomycetes (these are the sorts that we study).

Procedure:

First, determine which ITS primer pair you’ll use. Here are your options:

| Forward primer | Reverse primer | Application |
| --- | --- | --- |
| ITS 1F | ITS 4 | 93% of the time, this is what you’ll be using. This will amplify both the ITS1 and ITS2 rDNA regions of any fungus in your sample (see schematic below). |
| ITS 1F | ITS 4B | When you’re not using 1F/4, you’ll most likely use this. If you suspect that a sample is contaminated (as with mold or yeasts; often indicated by the presence of double bands in a PCR run with ITS 1F/4), a good next step is to run the same sample with 1F/4B, as most of the orneriest contaminants are ascomycetes, and will not be amplified with ITS 4B (B is for basidiomycete). |
| ITS 1F | ITS 4A | If, for some reason, you want to isolate an ascomycete’s DNA, you can use 1F/4A (A is for ascomycete), but honestly, I can’t think of many reasons why you’d want to do that. |
| ITS 1F | ITS 2 | This primer pair will only amplify the ITS1 region. On its own, it’s not a whole lot of use, but if you hit the same sample with ITS 1F/2 and then again with ITS 3/4, then you can put them together and get the full sequence covered by ITS 1F/4. This is particularly useful when you’re dealing with old or otherwise compromised material, as the DNA in those sorts of samples can be degraded and thus you’d want to go after smaller chunks of it at once. |
| ITS 3 | ITS 4 / ITS 4B | See above; again, if you’re concerned about ascomycete contamination, you can always go for 4B rather than plain old 4. |

To help you visualize what’s going on with these various primer combos, take a peek at this schematic of a generic fungal ribosomal gene:

The 18S, 5.8S, and 28S regions are highly conserved among species; thus, you’ll notice that all of the primer binding sites are located within these three regions. Conversely, the two internal transcribed spacer (ITS) regions are highly variable, allowing us to discern among very closely related taxa based on the variation we find here.

DNA Extraction

Before we can run a PCR, we need DNA, right? We’ve successfully extracted DNA from fresh and preserved fruiting bodies, mycelium, and ectomycorrhizal root tips. For instructions on how to extract DNA from these sources, please refer to the protocol entitled “REDE extraction: tips & tissue.”

Running the PCR

Before you begin:

- Always, always label your tubes very well. PCR reactions are performed in 0.2mL strip-cap tubes. I like to label each tube with some sort of serial number, and then on each strip of 8 tubes, I also give the date and reference a page in my lab notebook that explicitly describes which sample each serial number corresponds to. Label your tubes!

- Also, PCRs are best set up on ice, as a lot of these reagents don’t perform as well if they’ve been at room temperature for a while. So, get yerself a bucket of ice from the mudroom and keep your tubes in the ice while you work.

- Before you start, check to make sure that the thermocycler in Room 112 is turned on. It takes a few minutes to warm up, so do it now rather than once you’ve got your precious reactions all set up and ready to go.

Each 20uL§ PCR reaction contains the following:

REDE mix				10μL

PCR H2O				8.6μL

forward primer (e.g., ITS 1F)*	0.4μL

reverse primer (e.g., ITS 4)*		0.4μL

template DNA				1.0μL (don’t add this to the master mix. It gets 						added last).

§Sometimes, you’ll want a bigger or a smaller reaction size. That’s fine; just scale all of the reagents appropriately.

*You want your primer concentrations to be at 20μM.

In an 0.5mL or 1.5mL microcentrifuge tube, make up a master mix that contains enough of each of the first four reagents to make however many PCR reactions you intend to do, plus a negative PCR control, plus two extra reactions’ worth to account for pipet error (e.g., for a 20-reaction PCR, make a master mix containing 230μL of REDE mix, 197.8μL of PCR water, 9.2μL of ITS 1F, and 9.2μL of ITS 4). Also, it’s best to add them in the order that they’re listed above. Vortex it for a good 10sec.

Aliquot 19uL of master mix into each of your pre-labeled tubes. Then squirt in that 1.0μL of template into each. If you’ve been sloppy, spin the tubes down briefly before putting them in the thermocycler.

Most of the time, you will be using the ITS1F_4 program on the thermocycler, which can be found in the Kennedy folder on the thermocycler. You may notice that there is a range of other ITS program options (i.e., ITS_43, ITS_54, ITS_62, etc.). These are useful if, for example, you’re working with ITS 1F and ITS 2 rather than ITS 1F/4. In the 1F/2 case, the Tm’s of these primers are a bit higher than for ITS 4, so you’ll probably want to raise the annealing temperature a bit. But mostly, you won’t need to worry about that.

ITS1F_4

1) 94° for 1 min

2) 94° for 1 min (30s works just as well)

3) 51°§ for 1 min (20s works just as well)

4) 72° for 1 min (1kb/min)

cycle through steps 2-4 35 times

5) 72° for 8 min

6) 10° forever

§The temperature range for this step is 51-60°C for ITS1F/ITS4

If you’re going to be performing gel electrophoresis on your samples within a few hours, you can stick your samples in the fridge while you’re getting everything ready; otherwise, put them in the -20° freezer until you’re ready to use them... and make sure the box you’re storing them in is well-labeled! :)